## Slide 1
Parker H. Petit Institute for Bioengineering and Bioscience
Core Facilities
Equipment and Capabilities
Updated July 31, 2024

## Slide 2: Core Facilities Overview
IBB has 15 core facilities areas, which serve as a shared resource for the resource for the bioengineering and bioscience community. Consultation, training, and technical support is available for a variety of research projects. Users have access to over 150 pieces of lab equipment totaling over $37 million.
Core Facilities Areas
3D Medical Fabrication
Applied Bioinformatics
Biomechanics
Biomolecular Analysis
Biopolymer Characterization
Cellular Analysis and Cytometry
Genome Analysis
High Throughput DNA Sequencing
Histology
Magnetic Resonance Imaging
Microcomputed Tomography
Molecular Evolution
Neuro Design Suite
Optical Microscopy
Systems Mass Spectrometry (Proteomics and Metabolomics)

## Slide 3: Applied Bioinformatics Laboratory
Core Capabilities:
Bioinformatics
Computational genomics
Transcriptomics analysis
Molecular typing
Machine learning
Biostatistical analysis
The Applied Bioinformatics Laboratory (ABiL) provides custom solutions for a wide variety of bioinformatics data analysis challenges. ABiL scientists are adept at all kinds of large-scale ‘omics’ analyses: DNA-seq, RNA-seq, metagenomics, proteomics, etc.
For more information, visit: https://research.gatech.edu/bio/research/core-facilities/applied-bioinformatics-laboratory
Contacts: King Jordan, king.Jordan@biology.gatech.edu
Andrew Conley, Andrew.conley@biosci.gatech.edu

## Slide 4: Biomechanics Core
Equipment:
  MTS MiniBionix 858 uniaxial servohydraulic material testing system (axial/ torsion)
  Bose / TA Instruments ElectroForce 3200 Axial Extended Stroke (high displacement) configuration
  Bose / TA Instruments ElectroForce 3200 Axial/Torsion configuration
  Bose / TA Instruments ElectroForce 3100 uniaxial material testing system (small displacement/load)
  Anton Parr MCR302 Rheometer
Core Capabilities:
Compression testing
Uniaxial tensile testing
Uniaxial Torsion testing
Cyclic fatigue testing
Flexural testing
The Biomechanics Core Facility conducts mechanical analysis and testing of biological and engineered materials. Static and dynamic mechanical characterization is performed in this facility through various modes of testing (compressive, tensile, torsional, flexural, fatigue, etc). Research applications include trabecular bone microdamage, mechanical integrity of bone repair and fracture calluses, hydrogel material properties, thin-film characterization, and biomedical device testing.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/biomechanics-core
Contact: Laxmi Krishnan, biomech@gatech.edu

## Slide 5: Biomolecular Analysis Core
Equipment:
  Beckman Coulter Analytical HPLC
  • LiCor Biosciences Odyssey CLX infrared imager
  • Agilent Bioanalyzer DNA, RNA and Protein Analysis
  Labconco Centivap Concentrator/Cold Trap speed vac system (2)
  • Labconco FreeZone 6 Freeze Drying System (2)
  • Revity Tri-Carb LSC 4910TR scintillation counter
  • Amaxa Nucleofector cell electroporator
  • Perkin Elmer IVIS Spectrum CT in vivo imaging system
  • Applied Biosystems Step One Plus sequence detector
  • Beckman Allegra R15 benchtop centrifuge
  • Optima Max XP benchtop ultra centrifuge
  • Packard Cobra II auto-gamma counter,
  • Beckman Coulter XPN 100 ultracentrifuge
  • Avanti J1-30I high speed centrifuge
  • Fast Prep Tissue Homogenizer
  • Biotek Synergy H4 multi-mode plate reader (2)
  • GE FLA 9500 Imager
  • GE AI 600 RGB Imager
Core Capabilities:
Laser capture microdissection, Gel, blot and tissue, Imaging, PCR Analysis, Freeze drying, Fluorescence absorbance and luminescence analysis
Biomolecules form the basis of life. Biomolecular Analysis involves the characterization of polymeric biomolecules such as DNA, RNA, protein, carbohydrates, and lipids as well as single biomolecules. Some of the techniques that are available include absorbance spectroscopy, fluorimetry, luminometry, gel electrophoresis, capillary electrophoresis, and analytical high-performance liquid chromatography. Results generated by either 1D or 2D gel electrophoresis can be acquired and analyzed via fluorescence and phosphor storage imagers. Mass spectrometry is covered in detail in a separate section.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/biomolecular-analysis-core
Contact: Robert Hughley, robert.hughley@ibb.gatech.edu

## Slide 6: Biopolymer Characterization Core
Equipment:
  • AP Chirascan™-plus CD Spectrometer
  • Olis RSM1000 Stopped-Flow Spectrophotometer
  • Shimadzu NEXERA with RI, Fluorescence and PDA detector
  • Wyatt DynaPro NanoStar Dynamic Light Scattering
  • GE AKTAPure 25M with refrigerator
  • GE Ultrospec 2100 pro UV-Vis Spectrometer
  • OmniSEC REVEAL
  • OnmiSEC
  • Malvern Zeta-sizer (zeta potential measurement)
  • Beckman XPN ultracentrifuge
  • Beckman Avanti centrifuge
  • Wyatt Dynapro plate reader (DLS with HTS capacity)
  • Prometheus nanoDSF (native differential scanning fluorimeter)
  • Nanotemper technologies
  • MicroCal VP-DSC 2M (Differential scanning calorimeter)
  • MicroCal iTC200 (Isothermal calorimetry)
  • Beckman Optima AUC + Schlieren optics (analytical ultracentrifugation)
  BioTek Synergy H4 Microplate Readers
Core Capabilities:
HPLC, FPLC, Circular dichroism/fluorescence, Size exclusion chromatography, Multimode DLS, Ultracentrifugation, multimode DSF, Stopped flow, high throughput absorbance/fluorescence /chemiluminescence, ITC, Stop flow kinetics analysis, Analytical ultracentrifugation, Protein stability analysis, High-performance and ultracentrifugation
The biopolymer characterization core assists users and provides them with the appropriate instrumentation to perform their analytical experiments within the wide range of protein and other biopolymer characterization. We target all disciplines that have an interest or quest to analyze their samples and assist both in equipment training and setup as well as experimental design.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/biopolymer-core
Contact: Robert Hughley, robert.hughley@ibb.gatech.edu

## Slide 7: Cellular Analysis and Cytometry Core
Equipment:
Amnis Imagestream X imaging flow cytometer
• Fluidigm Helios Platform Mass cytometer and Hyperion imaging mass cytometer
• BD S8 cell sorter
• BD Melody Cell sorter w/ VBR lasers
• Beckman Coulter CytoFLEX S flow cytometer w/ plate loader
• Cytek Aurora full spectrum cytometer w/ automated sample loader
• IZON Exoid Tunable Resistive Pulse Sensing (TRPS) instrument
• Beckman Coulter Multisizer 4e cell counter
• NucleCounter NC-202
• LiCor DLx Gel Imager
Core Capabilities:
Spectral Flow Cytometry (up to 40 color Fluorescence Detection System), Conventional Flow Cytometry (up to 18 color Fluorescence Detection Systems), Fluorescence Activated Cell Sorting (2-way, 4-way, and Plate with Index Sorting), Imaging Flow Cytometry, Mass Cytometry and Tissue Imaging Mass Cytometry, Particle Sizing and Counting from 0.2um - 1600um, Nanoparticle Counting and Characterization
The cell is the basic unit of the organism. Cellular Analysis involves the characterization of cell populations using fluid-based transport systems. Flow Cytometry characterizes cell populations based on their light scatter and fluorescence properties. Using this information, cell subpopulations can be physically sorted into tubes, multi-well plates, and on slides. The Cellular Analysis & Cytometry Core (CAC) provides enhanced cell analysis and sorting services. In addition, the Core offers far-infrared imaging of gels & western blots, access to Cell Counters/Multi-Sizers & FlowJo Analysis Software, as well as Automated Cell Culture Technology.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/cellular-analysis-and-cytometry-core
Contact: ibb-cac@groups.gatech.edu

## Slide 8: Genome Analysis Core
Equipment:
Bio Rad QX200 ddPCR
Qiagen QIAcuity digital PCR system
Lonza 4D Nucleofector Core Unit 10X
Genomics Chromium X System
BioRad ddSEQ single cell isolator
Bionano Genomics Saphyr genome imaging system
Core Capabilities:
qRT-PCR & RT-PCR
Nucleofection
Single cell isoation (large sample number)
Single cell isolation (small sample number)
Digital drop PCR
The Genome Analysis Core is a part of the Molecular Evolution Core. The Genome Analysis Core focuses on several RT-PCR platforms plus single-cell encapsulation for RNA Seq 3' gene expression, 5' gene expression, and ATAC library production.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/genome-analysis
Contact: Naima Djedder, naima.djeddar@ibb.gatech.edu

## Slide 9: High Throughput DNA Core
Equipment:
Illumina NovaSeq 6000 High throughput DNA sequencing system
Core Capabilities:
Rapid runs with and without reagents, High output, TruSEq DNA, Nextera DNA, Nextera XT, TruSEq RNA sequencing, Nextera rapid capture, Nextera library quantification, Tru Seq quantification, NOVA SEQ, Oligonucleotide synthesis
The High Throughput DNA Sequencing core has now partnered with the Molecular Evolution Core to help cater to the needs of sequencing projects of all sizes. The combined cores now house four Illumina instruments, namely the MiniSeq, MiSeq, NextSeq, and HiSeq 2500, and one ABI SeqStudio to provide researchers with Sanger and ultra high throughput sequencing that can be used in various facets of biological sciences. The cores provide their services to all Georgia Tech labs, academic collaborators and research groups from industrial settings. The sequencing services offered are Sanger sequencing and NGS DNA, RNA, exome, single-cell, targeted, and 16S library preparation and sequencing with fast turn-around time and guaranteed high-quality data.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/high-throughput-dna-sequencing-core
Contacts: Shweta Biliya, shweta.biliya@biology.gatech.edu

## Slide 10: Histology Core
Equipment:
Accu-Scope EXC-350 Brightfield Microscope w/ 4K HDMI Camera
Buehler Ecomet 3 Grinder
Epredia Autostainer 360 for IHC, IF, and MultiPlex Staining
Epredia ClearVue Coverslipper
Epredia Cryostar NX-70 Cryostat w/ Vacuum
Epredia PT Module for Antigen Retrieval
EXAKT Grinding System
General Data Paraffin Dispenser PRO
General Data TECII 2120 Tissue Embedding System
Intelsint RTPH-360 Enclosed Tissue Processor
Core Capabilities:
Paraffin and Resin Automatic & Manual Tissue Processing, Cryogenic, Paraffin & Resin Embedding, Paraffin, Resin and Cryo-Microtomy, Diamond Saw Sectioning, Hematoxylin & Eosin Stain, Special Stains and Immunohistochemistry, Antigen Retrieval, Exakt Grinding System Slides, Histology Consulting & Training, Grossing, Plant Histology, Sample Decalcification, Tissue Fixation, Coverslipping, Protocol Optimization
The Parker H. Petit Institute's histology core is a research-based laboratory that specializes in the microscopic analysis of engineered, clinical, fresh, routine, and non-routine specimens. Through cryogenic, paraffin, gelatin, and resin preservation, users are able to analyze an array of samples for various forms of microscopy. The lab is accessible 24 hours, 7 days per week for internal members. An expert histologist is available Mon-Fri, 9 a.m. - 6 p.m. to train users, perform projects, assist with troubleshooting, optimization, and customization of all histology services. With state-of-the-art equipment, the Parker H. Petit Institute’s histology core is dedicated to providing the best results to all customers.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/histology-core
Contact: Aqua Asberry, aqua16@gatech.edu
Leica Autostainer XL
Leica CM3050S Cryostat
Leica VT1000 S Vibratome
Lunaphore LabSat Multiplex IHC
Metkon Miracut 152 Precision Saw
Thermo Scientific Cryostar NX-70 Cryostat
VWR 1400E Vacuum Oven
Waldorf (Germany) HM355S Microm Rotary Microtome (2)
Zeiss 100M Fluorescence Microscope w/ Camera

## Slide 11: Magnetic Resonance Imaging Core
Equipment:
Bruker PharmaScan 7T MRI Scanner
SAII animal monitoring and gating system
Volume and surface coils in various sizes and configurations from Bruker, Doty Scientific and M2M imaging
Core Capabilities:
Small Animal MRI, Engineering Applications of MRI, Magnetic Resonance Spectroscopy, flow-MRI, MRI technology
The Magnetic Resonance Imaging Core is a core facility for high resolution. MRI studies with the following focus: Molecular imaging, cardiac imaging, development of new contrast agents, and biomedical engineering.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/magnetic-resonance-imaging-core
Contact: Johannes Leisen, johannes.leisen@chemistry.gatech.edu

## Slide 12: Microcomputed Tomography Core
Equipment:
MicroCT40 Small specimen scanner (Scanco)
MicroCT50 Small specimen scanner (Scanco)
VivaCT40 In vivo specimen scanner (Scanco)
Inveon In vivo specimen scanner (Siemens)
Core Capabilities:
Sample cT, in vivo cT, 3D reconstruction of cT slices, cT image analysis
Micro-computed tomography (micro-CT) is an X-ray imaging technique used for high resolution, nondestructive assessment of materials including musculoskeletal tissues and engineered biomaterials. Research applications include fracture healing, skeletal phenotyping, segmental bone defect repair, age-related effects on bone, joint degeneration, vascular remodeling, developmental biology, and microstructure of materials.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/microcomputed-tomography-core
Contacct: Laxmi Krishnan, microct@gatech.edu

## Slide 13: Molecular Evolution Core (Research)
ABI Step One Plus real time PCR system
Electrophoresis equipment
New Brunswick Scientific Innova 44 Shaker
NuAire NU 475-500
Illumina MiSeq system
Illumina iSEQ system
Illumina NextSeq 500
Illumina MiniSeq
Oxford Nanopore MinION
Grenova Tip Washer
BIOSETT ASM 2000 DNA oligo synthesizer
Qiagen Qiacube Connect nucleic acid extraction system
Tissuelyser II sample disruptor
Core Capabilities:
Genome Sequencing, Library preparation/construction, Plasmid sequencing, Sanger sequencing, Next Gen sequencing, RNASeq, Automated sample Handling Automated, Phage Display, Cloning, Fragment Analysis, Yeast Surface Display, Automated Colony picking, Library Screening, gel extraction, Oligonucleotide synthesis, Bacterial Surface Display, Custom ELISA, Error Prone PCR, Bioanalyzer; DNA; RNA; Protein, Electroporation, Custom Selection Systems Design, scFvs, Qiacube DNA; RNA; Protein Purification, Colony Picking, Custom Sequencing Libraries, Competent Bacterial Cells
The Molecular Evolution Core Facility is housed in two convenient locations for researchers across the biotechnology campus at Georgia Tech. One is an 800-sq.-ft. suite on the second floor of the Krone Engineered Biosystems Building, and another is a multi-functional lab on the third floor of the Petit H. Parker Institute of Bioengineering and Bioscience building. The purpose of the facility is to provide routine access to molecular evolution methods and serve as a force-multiplier for any laboratory at Tech and beyond that is in search of new molecular catalysts or molecular binders.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/molecular-evolution-core
Contacts: Anton Bryksin, anton.bryksin@ibb.gatech.edu
Equipment:
Agilent Tapestation
Agilent Bioanalyzer 2100
Sage Science Blue Pippin automated gel extraction system
Covaris R230 focused ultrasonicator
ThermoFisher Scientific SeqStudio Sanger sequencing system
ThermoFisher Scientific SeqStudio Flex Sanger sequencing system
Beckman Coulter Echo 525 acoustic liquid handling system
Crocodile ELISA Robot
Qpix 2XT Colony picker
Andrew Alliance Liquid Handling System
Stratagene Mx3005P qPCR System
DXS Automated ELISA System
Taspestri Single cell Multi-omics system

## Slide 14: Molecular Evolution Core (CLIA Lab)
  BSC LYSIS Hood Traceable® Ultra- Low Temperature WIFI Data Logger with TraceableLIVE® Cloud Service Pipette Communication Module
  Integra Assist PLUS liquid handling system
  BMG Labtech CLARIOstar Plus plate reader
  California Air Compressor
  KingFisher Flex nucleic acid extraction system
  Thermo Scientific Quantstudio 5 real time PCR system
  Thermo Scientific Quantstudio 6 Flex real time PCR system
  SPT Labtech XL-100 automated liquid handling system
  Formulatrix Mantis liquid handling system
  Omni bead ruptors
Core Capabilities:
Genome Sequencing, Library preparation/construction, Plasmid sequencing, Sanger sequencing, Next Gen sequencing, RNASeq, Automated sample Handling Automated, Phage Display, Cloning, Fragment Analysis, Yeast Surface Display, Automated Colony picking, Library Screening, gel extraction, Oligonucleotide synthesis, Bacterial Surface Display, Custom ELISA, Error Prone PCR, Bioanalyzer; DNA; RNA; Protein, Electroporation, Custom Selection Systems Design, scFvs, Qiacube DNA; RNA; Protein Purification, Colony Picking, Custom Sequencing Libraries, Competent Bacterial Cells
The Molecular Evolution Core Facility is housed in two convenient locations for researchers across the biotechnology campus at Georgia Tech. One is an 800-sq.-ft. suite on the second floor of the Krone Engineered Biosystems Building, and another is a multi-functional lab on the third floor of the Petit H. Parker Institute of Bioengineering and Bioscience building. The purpose of the facility is to provide routine access to molecular evolution methods and serve as a force-multiplier for any laboratory at Tech and beyond that is in search of new molecular catalysts or molecular binders.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/molecular-evolution-core
Contacts: Anton Bryksin, anton.bryksin@ibb.gatech.edu
Equipment:

## Slide 15: Neuro Design Suite
Axon MultiClamp 700B Amplifier
Slice Scope Pro 1000
Slice Scope Pro 3000
Digidata 1550A Digitizer
TDT 128 Channel Neurophysiology System
P-340 fura2
Sutter P-2000
Core Capabilities:
Intracellular single cell electrophysiology recording, Extracellular electrophysiology recording, Microelectrode fabrication, Viral (nano-particle) injection, Cell Cultures
The Neuro Design Suite is a state-of-the-art facility for neuroscience research, which consists of three major rigs which allow researchers to perform manual and/or automated in vitro and in vivo patch clamping and in vivo extracellular electrophysiology recording.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/neuroscience-core
Contacts: Bo Yang, bo.yang@me.gatech.edu
Equipment:

## Slide 16: Optical Microscopy Core
Equipment:
  Zeiss LSM 780/ ELYRA super resolution microscope system
  Zeiss LSM 980 NLO multi-photon excitation confocal microscope system
  Zeiss LSM 700 confocal microscope system
  Zeiss LSM 900 w/ Airy Scan confocal microscope systems (2)
  Zeiss PALM Microbeam laser capture micro-dissection system
  Molecular Devices ImageXpress PICO high content imaging system
  Zeiss AxioObserver Z1 Fluorescence microscope
  Biotek Cytation 7 Reader/Imager w/ BioSpa 8 Robotic incubator, plate handler, and washer
Core Capabilities:
Laser scanning confocal
Spinning disk confocal
Multi-photon excitation- inverted and upright
Lightsheet
Widefield and Slide/plate scanner
TIRF microscopy
Super resolution SIM
Super resolution- dSTORM and PALM
Swept field Confocal
LaserCapture Microdissection
The Optical Microscopy Core provides state-of-the-art microscopy tools to Georgia Tech researchers and the surrounding academic and industry community.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/optical-microscopy-core
Contacts: Sandy Hsieh, sandy.hsieh@ibb.gatech.edu
Danielle Scheff, danielle.scheff@ibb.gatech.edu

## Slide 17: System Mass Spectrometry Core (Proteomics and Metabolomics)
Equipment:
Vanquish Horizon LC / ThermoFisher Scientific Q Exactive HF MS
Vanquish Horizon LC / ThermoFisher Scientific Orbitrap ID-X MS
Vanquish Horizon LC / ThermoFisher Scientific Exploris 240 MS (2)
Bruker Amazon Speed Ion Trap with ETD
Bruker rapiFlex MALDI TOF
ThermoFisher Scientific GC / ISQ 7610 MS
ThermoFisher Scientific Dionex Ultimate 3000 RSLC
Dionex UltiMate 3000 RSLCnano UHPLC system / ThermoFisher Scientific QE Plus MS (2)
Waters Acquity I Class LC
Beckman PF-2D Chromatography system
VanquishNeo LC/ThermoFisher Scientific Exploris480
Bruker Solarix 12T FTICR
Core Capabilities:
Discovery and targeted proteomics
Protein identification and quantification
Protein-Protein interaction studies
Posttranslational modification analysis
Intact protein analysis, protein complex characterization
Non-targeted polar and/or non-polar metabolomic assays
Targeted assays
Exact mass measurement
Mass spectrometry imaging
Sample preparation, data collection, data processing, data analysis, annotation, and interpretation
The mission of Georgia Tech’s systems mass spectrometry core facility is tot provide researchers with state-of-the-art scientific and technical support in modern proteomics and metabolomics.
For more information, visit https://research.gatech.edu/bio/research/core-facilities/systems-mass-spectrometry-core
Contacts: symsc@ibb.gatech.edu